www.eickemeyer.com

Telephone +49 7461 96 580 0

Veterinary Ophthalmology Catalogue

101780                  170008                118111

132812

171807

171522               172514                152612

171712

170331

170004                   141109

141009                         110811                       172120

981703

500604

500704

170512

170464     101710      172111        172110

173011

171510

170340

171105

171503             110911

981703

500604

171309

500702

101763              101764

101765               101769              101710               101715

118309

118309

118310

110609

110609

110709

STEVENS Tenotomy Scissors

• Designed with a long shank to blade ratio, which helps provide a steady grip while maintaining greater  precision cutting

• Very useful in small conﬁned areas

Item. No.                                                        Length mm

Form

110811

110811

110911

110811          STEVENS Tenotomy

Scissors

• Fine

• Blunt / blunt

110911          STEVENS Tenotomy

Scissors

• Fine

• Blunt / blunt

110        straight

110         curved

118011

118011

118111

LANDOLT Enucleation Scissors

Curved scissors designed  with blunt tips to assist in the dissection  of the optic nerve and surrounding  tissue from the eyeball.

Item. No.                                                          Length mm

Form

171712          LANDOLT Enucleation

Scissors

130         curved

171710

171710

172111

172110

VANNAS Cataract Scissors

• Designed with extra thin angled  blades and a double leaf spring mechanism  for self-opening action

• The ridged handle  enhances instrument control

Item. No.                                                          Length mm

Form

172208          VANNAS Cataract Scissors

• Sharp / sharp

85          curved

WESTCOTT Scissors

• Designed with curved blades and double leaf spring mechanism  for self-opening action

• Useful for cutting delicate  tissue

Item. No.                                                         Length mm

Form

172120          WESTCOTT Scissors

• Blunt / blunt

110         curved

ARRUGA Capsule Forceps

Designed with downward curving tips at a 45° angle and ridged linear grip to enhance instrument grip.

| Item. No. |  | Length |
| --- | --- | --- |
|  |  | mm |
| 171309 | ARRUGA Capsule Forceps | 100 |

GILL-ARRUGA Capsule Forceps

Designed with a ﬁne down curving pointed  tip and ridged linear grip for a comforable  grip. This instrument is suitable  for the handling  of delicate  ocular tissues.

| Item. No. |  | Length |
| --- | --- | --- |
|  |  | mm |
| 171307 | GILL-ARRUGA Capsule Forceps | 75 |

HESS Capsule Forceps

Opposing surfaces have a row of ﬁne teeth  with ﬁne double curving

pointed  tips and ridged handles  to enhance grip.

Item. No.                                                                             Length mm

171306          HESS Capsule Forceps                                 65

BISHOP-HARMON Iris Forceps

The ﬂat, straight and smoth handles with 3 holes provide excellent  grip.

Item. No.                                                                             Length mm

171108          BISHOP-HARMON Iris Forceps                        85

• 1 x 2 teeth

170610

170910

170610

170910

HESS (Colibri) Iris Forceps

Designed for holding ﬂaps of cornea or sclera and a ridged handle  for

improved instrument grip.

Item. No.                                                                             Length mm

171007          HESS (Colibri) Iris Forceps                               70

• 1 x 2 teeth

BARRAQUER (Colilbri) Forceps

Designed with ridged, long, straight  and ﬂat handles  which contains  a

long single hole.

Item. No.                                                                             Length mm

171105          BARRAQUER (Colibri)  Iris Forceps                   70

• Tip width: 0.5 mm

• Tip curve: 45°

• 1 x 2 teeth

BARRAQUER-KATZIN (Colibri) Forceps

Designed with ridged, straight  and ﬂat handles  to enhance instrument

grip.

Item. No.                                                                             Length mm

171107          BARRAQUER-KATZIN (Colibri)  Forceps

• Tip width: 0.12 mm

• Tip angle: 90°

• Interdigitating teeth

100

CASTROVIEJO Suture Forceps

Designed with straight  shaft tips with extremely  delicate  teeth  and a

5.5 mm tying platform.

171503

171503

TUEBINGEN Suture Forceps

Designed with straight  shaft tips, extremely  delicate  teeth  and a

6.5 mm tying platform.

| Item. No. |  | Length |
| --- | --- | --- |
|  |  | mm |
| 171510 | TUEBINGEN Suture Forceps | 100 |

173011

173011

BARRAQUER-TROUTMAN Needle Holder

• Ideal for ﬁne suturing in the anterior chamber

• Round knurled ridged handles  with an automatic  locking mechanism

Item. No.                                                         Length mm

Form

173010 	BARRAQUER-TROUTMAN Needle Holder

100         curved

BOYNTON Needle Holder (TC)

• Designed with cross-serrated jaws to ﬁrmly hold needles  and a

single spring mechanism  for self-opening action

• A multi-position ratchet  provides controlled  grip pressure and smooth grip release

• Round knurled ridged handles  with an automatic  locking mechanism

Item. No.                                                         Length mm

Form

173112          BOYNTON Needle

Holder (TC)

100         straight

172514

172414

172514

DOUGLAS Cilia Forceps

Designed with ﬁne horizontal  serrations that help correct abnormal

growth of lashes  from the posterior  lamella  (e.g. distichiasis).

| Item. No. |  | Length |
| --- | --- | --- |
|  |  | mm |
| 170309 | DOUGLAS Cilia Forceps | 90 |

GRADLE Cilia Forceps

• Suitable for correcting  abnormal  growth of lashes from the posterior  lamella  (e.g. distichiasis)

• Smooth, squared  off positive gripping jaws

• Double leaf spring mechanism

| Item. No. |  | Length |
| --- | --- | --- |
|  |  | mm |
| 170310 | GRADLE Cilia Forceps | 95 |

171411

171411

DESMARRES Chalazion Forceps

• Designed with a solid lower plate and an open upper plate

• A locking thumb screw allows both hands to be kept free

Item. No.                                                                             Length mm

171522          DESMARRES Chalazion Forceps                    90

• Size 2

KNAPP Conjunctiva Forceps

Thumb forceps with a grooved handle  and large apertures to help grasp the conjunctiva.

| Item. No. |  | Length |
| --- | --- | --- |
|  |  | mm |
| 171611 | KNAPP Conjunctiva Forceps | 110 |

STADES Nicitating Forceps

• Thumb forceps with two locking mechanisms designed  speciﬁcally

for third eyelid surgery

• Lower plate is solid and the upper plate is semi-curved

| Item. No. |  | Length |
| --- | --- | --- |
|  |  | mm |
| 171609 | STADES Nicitating Forceps | 95 |

ST. MARTINS Corneal Forceps

Very ﬁne toothed forceps used in handling  cornea.

Item. No.                                                                             Length mm

171807          ST. MARTINS Corneal Forceps                         90

• 1 x 2 teeth

CASTROVIEJO Cyclodialysis Spatula

Designed with a smooth, straight, ﬂat, delicate  handle  and dual-ended

delicate  sharp tips.

Item. No.

170512          CASTROVIEJO Cyclodialysis Spatula

• Dual-ended

KUHNT Corneal Scraper

Designed with a delicate  sharp tip at a 45° angle on a ﬂat handle.

Item. No.

170331           KUHNT Corneal Scraper

JAMESON Strabismus / Muscle Hook

Designed to elevate  the muscle tissue for dissection  and reattachment.

GRAEFE Iris Hook

Designed with a sharp hook and a polished  ﬂat handle.

Item. No.

170440          GRAEFE Iris Hook

CASTROVIEJO Speculum

Designed with a sharp hook and a polished  ﬂat handle.

| Item. No. |  | Length |
| --- | --- | --- |
|  |  | mm |
| 170008 | CASTROVIEJO Speculum | 80 |

GASS Retinal Detachment Hook

Designed with an oval hole that helps securely place a retaining suture on ocular muscles.

Item. No.                                                                             Length mm

170441          GASS Retinal Detachment Hook

• Aperture: 1.5 mm diameter

• Hook length: 13 mm

140

GRAEFE Eyelid Retractor

Wire retractor  with a ﬁne control mechanism  to minimise friction.

| Item. No. |  | Length |
| --- | --- | --- |
|  |  | mm |
| 170009 | GRAEFE Eyelid Retractor | 90 |

DESMARRES Retractors

Designed with a smooth  curved blunt blade to help manually retract the eyelid.

Item. No.                                                                          Length mm

170114          DESMARRES Retractor

• Size 2

170116          DESMARRES Retractor

• Size 3

140

160

170114

170114

KNOLLE-PEARCE Irrigating Vectis

Designed to gently remove the nucleus by using mechanical  and hydrostatic  forces.

Item. No.

441120          KNOLLE-PEARCE Irrigating Vectis

WEBER Wire Loop

Designed with a delicate, long loop on a straight, ﬂat handle.

Item. No.                                                                             Length mm

170464          WEBER Wire Loop

• Length loop: 5 mm

130

BOWMAN Lacrimal Probe

• Helps to determine the functional  status  of the lacrimal drainage system

• Can also be used to help perform a dacryocystorhinostomy

Item. No.                                                                             Length mm

170470          BOWMAN Lacrimal Probe

• Size 0 / 00

130

170486

170486

170481

170481

CASTROVIEJO Caliper

• Ideal for precise measurements for TPLO procedures

• Increments:  0.5 mm

• Maximum measurement: 20 mm

Item. No.

173554           C A STROVIE JO Caliper

JAMESON Caliper

Graduated in inches and mm with thin tips, chrome.

Item. No.

170120          JAMESON Caliper

440605                                      440705

441007                   440805                              440905

441100

173500

173500                                   173518

Sugi Swabs

• Sugi absorbent materials  are especially suitable  for dabbing  those areas where special care must be taken (e. g. neural structures and ophthalmic tissue)

• Sugi absorbent materials  are manufactured from cellulose  material

• The material  undergoes soft / elastic expansion immediately  upon contacting moisture

• The absorptive  capacity is approximately 17 times its own weight

Item. No.                                                                             Length mm

166520                           166530

166520          Sugi Swab                                                         70

• Wedge tip

• 7 mm

• 200 per pack

166530          Sugi Swab                                                         70

• Cylindrical

• 4 mm

• 500 per pack

170011            170013          170014

170010                                        170012

173442

Cautery Pen

• Precise cauterisation thanks to the very ﬁne tip (28 mm)

• Easy to use

• Operating  temperature: 600 °C

• Individual sterile packaging

• For single use only

Item. No.

173430          Cautery Pen

328140

611122

SCORE® Ergo Support Chair

The SCORE® Ergo Support Chair is specially developed  for ophthalmologists. It allows an ergonomic sitting position and offers you comfortable  support during long periods of seated  work.

Special features  of the SCORE® Ergo Support chair are its ergonomically shaped armrests. They can be brought close to the body and provide your forearms optimal support. The height adjustment of the armrests  allows an upright sitting position when using a microscope or other precision instrument.  The Ergo Support helps you to assume a relaxed posture: the neck, shoulders  and back are relieved.

Features

• Easy height adjustment, seat and back angle

• SCORE® Ergo Shape seat with rounded corners ensure an active sitting position

• Compact lumbar support can be easily positioned in the lumbar region

• Strong aluminium base with large wheels for easy manoeuverability

Technical speciﬁcations

• Height adjustment (with foot control): 52 – 71 cm

• Working height: 80 – 90 cm

• Seat dimensions:  Ø 40 cm

• Lumbar support  (in cm): W 33 x H 23

• Foot cross dimensions:  Ø 68 cm

• Armrests (compact triangular  shape): 115° rotation, height adjustment: max. 11 cm

• Armrest upholstery  (in cm): W 15 x D 40 cm (swinging)

Item. No.

610060          SCORE® Ergo Support Chair

Innovations for

your everyday success

HEINE®  Binocular Loupes

Your optimal loupe is as individual as your work. HEINE® Binocular Loupes set a benchmark  for design, high-tech materials  and precise manufacturing methods.  Various magniﬁcations, working distances, wearing options  and illumination  systems are available. Experience the difference  of getting  less tired – even during long procedures.

Optics

HR:         High Resolution achromatic  optics with excellent optical qualities  for 2.5x magniﬁcation.

HRP:      High Resolution Prismatic optics with excellent optical qualities  for 3.5x, 4x and 6x magniﬁcation.

| Optics | Working Distance | Field of View | Depth of Field |
| --- | --- | --- | --- |
| HR 2.5x | 34 cm | 90 mm | 110 mm |
| HR 2.5x | 42 cm | 130 mm | 180 mm |
| HRP 3.5x | 42 cm | 65 mm | 60 mm |
| HRP 4x | 34 cm | 50 mm | 40 mm |
| HRP 6x | 34 cm | 40 mm | 30 mm |

Features

• Lightweight: 51 g (HR) or 81 g (HRP)

• Water-resistant

• Independent adjustment of left and right optics for perfect pupillary distance

• i-View loupe mount with ﬂip-up function

Mounting Options

HEINE® S-FRAME

• Maximum comfort with a modern, ergonomic design

• Malleable temples and nose pad can be

customized  to ﬁt any face perfectly

• Innovative light materials  – weights only 24 g

• Tough polycarbonate protective lenses

• Optional clip-in correction  frame for prescription lenses

HEINE® Professional L Headband

• Ideal for spectacle-wearers in combination with their own spectacles

• Fully-adjustable for height  and width to ﬁt any

head

• Hygienic and comfortable leather  cushions

• Optional S-GUARD splash protection and clip-in correction  frame for prescription lenses

310700

HEINE® Binocular Loupes on Professional L Headband

• Protective  lenses

• 2 sterilisable swivel levers

Item. No.                                                                                  WD

cm

310703         HEINE® Binocular Loupes on Professional L       34

Headband

• HR 2.5x

310713         HEINE® Binocular Loupes on Professional L      42

Headband

• HR 2.5x

310699        HEINE® Binocular Loupes on Professional L      42

Headband

• HRP 3.5x

310701         HEINE® Binocular Loupes on Professional L      34

Headband

• HRP 4x

310710         HEINE® Binocular Loupes on Professional L      34

Headband

• HRP 6x

310701

310717

31051201

31050801

31051001

31050401

HEINE® LoupeLight 2

Compact LED HQ Headlight

HEINE® has set a new standard which maintains  that only the best is good enough, from the selection of materials  to processing, from light intensity  to dimmability, and from thermal  management to a colour rendering  index as high as possible.

Features

• LED in HQ

• Compact, lightweight 50 g

• Exclusive aluminium housing protects the optics against  dust and moisture  to ensure  an extraordinary long lifespan and optimal thermal  management

• Compact coaxial design ensures  a completely  shadow-free image

and allows for excellent illumination  of difﬁcult to see areas

•  Replaceable connecting cord with high-quality  splashproof threaded connector  with a length  of 1.5 m. Connects the LoupeLight 2 with the mPack mini

Technical speciﬁcations

• Illumination: 55,000 lux

• Colour Temperature: 4,000 Kelvin

• LED Operating  Life: 50,000 hours

• Spot Size is shadow free and designed  to complement the HR / HRP

loupes

• Angle of Declination is stepless and individually adjustable for every examination

• Operating  Time: 9 hours with mPack mini (in continuous operation at full power typ. 4 hours)

HEINE® mPack  mini

• Freedom from cables that tie the user to desk, wall or static power supplies

• Operating  time: 9 hours

• Charging time: 4 hours

• Charge status  indicator

• Stepless  light intensity  control

• USB cord with E4-USB Medical approved  plug-in power supply

• Simple cleaning  (closed housing, no seams at the sides, few edges)

• Compact and lightweight – with a weight of just 95 g and dimensions  of 44 x 23 x 101 mm the power source can be easily stowed

• Optimised mPack mini belt clip for easy attachment of the power source to the belt or coat pocket

• Li-ion technology – no „memory effect“, without  worrying about charge level or battery  condition

• Integrated rechargeable battery  can be exchanged at authorised specialist

Item. No.

310717          HEINE® LoupeLight 2

• With mPack mini and E4-USB plug-in transformer

31071701

173479

E17347901                                   302442

311137

311138

311127

311123

302558

31112901

310600                                         310601

17353814

173538

173536

173537

A partner for your

long-term success

173474

173574

173580

SCHIRMER Tear  Test

Schirmer Tear test can be used to measure basal and reﬂexive tear

production in non-anaesthetised eye.

• Blue colour mark tear front indicator or without  colour

• Physiological range in dogs: 15 – 25 mm

• Individually packed – sterile

• 100 per pack

Item. No.

173589          SCHIRMER Tear Test

173592          SCHIRMER Tear Test with Blue Mark

173589                                         173592

301135                               301137

HEINE® BETA®  200 LED Ophthalmoscope

The ophthalmoscope with unique aspherical optics and all features of the HEINE® BETA® 200 S LED, but:

• Without macula aperture  (pinhole)

• Range of lenses: 27 single lenses from -35D to +40D

• 6 apertures

Item. No.

300137          HEINE® BETA® 200 LED Ophthalmoscope

301145              302046

302553

301145

302046

301146

302553

17354302

173543

301180

301181

HEINE® FINOFF Transilluminator

Small and light, used to examine the fundus.

Item. No.

301170          HEINE® FINOFF Transilluminator

300038          XHL Xenon Halogen Spare Bulb for 301170

301170                          300038

300039

Spare Bulb High Performance LED 3.5 V

The EICKEMEYER® high power LED lamp makes the HEINE® Slit illumination  head an even more powerful diagnostic  tool. Replacing the lamp is easy.

Compatible with:

• Slit Illumination  Head 3.5 V (300035)

• Closed Headpiece  3.5 V (300635)

• Finoff Fluoroscopy Adapter 3.5 V (301170)

Item. No.

300039          Spare Bulb High performance LED 3.5 V

EICKEMEYER® Diascleral Transilluminator

The Diascleral Transilluminator provides a focused LED-light source and is therefore  suitable for examining the fundus in all animals. It is a standard  diagnostic tool for any veterinarian  and is used to get a ﬁrst impression of the ophthalmological status of the patient, even when the pupil is closed. The great advantage, is its ability to bend the upper portion and appropriately  focus the light. This allows the investigator to view the fundus with a closed pupil (direct ophthalmoscopy). It can also be used, with the aid of an ophthalmic lens as a light source, to perform an indirect ophthalmoscopy.

Features

• Light Source: LED

• Cone of Light: Ø 3 mm

• Aperture: 16 lumens (if new batteries)

• Weight: 30 g (excl. battery)

• Length: 156 mm

• Includes: 2 A A A batteries (1.5 V ) and Allen key

Item. No.

301195          EICKEMEYER® Diascleral Transilluminator

HEINE® EN 200 Wall Transformer

Everything in its right place, ready to use. No more tiresome searches for instruments, or manual charging necessary. The HEINE® EN 200 can be customised to match your individual needs. • Excellent energy efﬁciency: lower power consumption saves costs and is environmentally-friendly • Simultaneous use of handles: the handles can be operated optimally with LED and / or XHL instruments • Compatible with all HEINE® instruments (LED or XHL) with AV connector • Maximum safety for user and patient: the integrated galvanic separation protects the handles from unwanted electrical interaction • Optimal cleaning: ﬂat, space-saving housing without any openings allows optimal hygienic reprocessing • Ready-to-use Function: due to cutting-edge technology in the HEINE® EN 200 the handle switches on and off automatically when taken off or returned to the unit. Set your brightness level once and it stays there every time you use your instrument. When not in use or when not returned to the unit, the illumination switches off after 15 minutes. • Expandable via USB interface • Soft Start Technology protects bulbs in the critical switch-on phase (prevents current surge) and prolongs bulb life • Continuous brightness control between 100 % and 3 % for both XHL and LED illumination • Integrated anti-theft system by means of a locking screw prevents unauthorised instrument head removal

Item. No.

302568 HEINE® EN 200 Wall Transformer • Without instruments

302553                                           302552

302443

302440

302442

302536

302551

30255101

302555

302438

302535                                302435                      302400

302550

HEINE® OMEGA® 500 LED UNPLUGGED Indirect

Ophthalmoscope

The head mounted indirect ophthalmoscope can be used in the consulting room, operating  theatre  or anywhere else in the clinic. It is comfortable to wear and can easily be adjusted to an individual’s head size. In addition, key adjustment controls feature soft touch surfaces for precise and positive adjustment control.

Features

• Synchronized Adjustment of Convergence  and Parallax for high quality, stereoscopic fundus images through  any pupil size. Precise selection of the observation and illumination  optics for small pupils down to 1.0 mm.

• Excellent optical performance due to the multi-coated illumination system. Exact vertical alignment of the illumination  with the observation path further minimising the reﬂections.

• Due to the mounting  of the optics on an aluminium frame, the HEINE® OMEGA® 500 is solid, long lasting, and is guaranteed to be dustproof. With the Rheostat  HC 50 L the light intensity  can be precisely adjusted  – especially in the range of low light intensities.

Technical speciﬁcations

•  Rechargeable battery  integrated on the headband

• Lightweight  with balanced  weight distribution

• mPack UNPLUGGED rechargeable battery  (charging time 2 hours)

• Operating  time 8 hours with LED illumination

• Charge Status Indicator

• Can be recharged by wall charger or plug-in transformer

Item. No.

173487       HEINE® OMEGA® 500 LED UNPLUGGED Indirect Ophthalmoscope

173465

302558

173490                                           173495

HEINE® OMEGA®  500 with DV 1 Digital Video Camera

• 5 MP resolution. Capable of capturing high-resolution videos or still shots of examinations. Perfect for sharing the examiner’s view with a wider audience, educating patients  on the diagnosis, recording techniques  for presentations, and patient  records.

• Simple operation. Digital imaging without any additional adjustments. Simply start recording and the image as seen through the HEINE® OMEGA® 500 will be displayed on the screen.

• Comfortable and balanced ﬁt. The HEINE® OMEGA® 500 headband distributes  the low weight of the compact camera and optics perfectly and ensures a comfortable ﬁt.

• Integrated  focus adjustment. The high depth of focus combined with an easily accessible focus adjustment, even for the assistant, ensures crisp, in-focus imaging.

• Interface and software. Will plug into any laptop or computer via USB 2.0 interface. Supplied with software program for video recording and image capture.

• Cable-free power source system with mPack UNPLUGGED

rechargeable battery.

• Integrated  camera design. The integrated camera system ensures precise alignment  with the optical system of the Indirect Ophthalmoscope. Robust, dustproof design. No further adjustment of mirrors necessary for digital imaging.

Item. No.

173492          HEINE® OMEGA® 500 with DV 1 Digital Video

Camera

ClearView® 2 Retinal Camera

The Optibrand® ClearView® 2 Retinal Camera is an ophthalmic camera device developed for veterinary professionals to acquire wide-angle digital colour images of the retina using an Apple iPod Touch®.

Features

• Auto focus

• Automatic-capture and manual-capture image modes

• Automatically saved images

• Retina images can be immediately  viewed and uploaded to e-mail or text message

• Data transfer  to a PC / MAC via iTunes

Technical speciﬁcations

• Pupil Size: 5 mm diameter  or greater

• Field of View: 50°

• Working Distance: 50 mm

• Illumination: White light LED provided by Apple iPod Touch®

• Diopter Power: -20 D to +20 D autofocus  accommodation

• Operating  Modes: Encrypted / Unencrypted  Data Mode

• Image Size: 1,920 x 1,920 Pixels (roughly 3.5 Megapixels)

• Image Format: JPEG

• Battery Life: 50 sessions  on a full-charge  (Qty of 2-minute  exams)

• Software: ClearView 2 Downloaded  from the App Store

• Lens Tube Length: 180 mm

• Camera Case Length: 134 mm (Apple iPod Touch®)

• Overall Width: 94 mm

• Weight: 325 g (lens tube / case only), 413 g (incl. Apple iPod Touch®)

Item. No.

173553        ClearView® 2 Retinal Camera

• inlc. Aple iPod Touch®

1736007

1736005

173560

173600

173605

173660

17366001

17366002

17366003

173649

173660

173661

173610

173585

173586

605911

cPLR Tester

cPLR (Chromatic Pupil Light Reﬂex) Tester is a precision Red and Blue light source for rapid screening of retina and optic nerve function. Pupillary response  depends  on the Blue 480 nm and Red 630 nm wavelengths.

Technical speciﬁcations

• Red light wavelength: 630 nm

• Blue light wavelength: 480 nm

• Nominal light intensity  200 kcd / m²

• Device switches the light OFF after 25 sec automatically

(auto power OFF after 60 sec)

• Includes: batteries (7.4 V Li-Ion 800 mAh) and smart battery  charger

• Dimensions (in cm): L 190 x W 86 x H 45

Item. No.

173670        cPLR Tester

902600

epiCam®  V Fundus Camera

epiCam® V is a high resolution video ophthalmoscope for veterinary use. View and capture  live retinal video, then extract  the best still images during review and document the images you prefer. The required software  is included. Used with a standard Windows Tablet / Laptop epiCam® is lightweight, portable and non-invasive. Dilation is not mandatory, although it is slightly easier to see to very wide periphery.

Features

• Real-time, lossles retinal video examination

• Wide 45º ﬁeld of view

• Premium optical quality and resolution

• 5 Megapixel images are ideal for publishing

• Illumination: safe, low power white light

Technical speciﬁcations

• Operating  systems: Windows 7 or higher

• Processor required: Intel Core i5 for USB 3.0 mode

• Frame rate: 14 fps Uncompressed video

• Pixels: 1,296 x 972 pixels (USB 2.0) or 2,592 x 1,944 pixels (USB 3.0)

• Panning: 30° Horizontal; 20° Vertical

• Optical resolution: below 10 µm

• Diameter of pupil: 4 mm or more

• Working distance: 13 mm

• Focal adjustment range: in excess of -15 D to +15 D

• USB powered: USB 2.0 or USB 3.0

• Length: 153 mm

• Weight: 185 g

• Includes: carrying case & footswitch

Item. No.

173552           epiCam® V Fundus Camera

Quality equipment

for your practice

NOTES

46                     T +49 7461 96 580 0 | F +49 7461 96 580 90 | export@eickemeyer.com | www.eickemeyer.com

CONTENT

A

Advanced Ophthalmic Kit . . . . . . . . 3

AESCULAP Clipper

Isis / Exacta  . . . . . . . . . . . . . . . . . . . 44

AlgerBrush II Corneal Burr . . . . . . 21

ANEL Lacrimal Cannulae . . . . . . . . 19

ARRUGA Capsule Forceps . . . . . . . . 6

B

BARRAQUER (Colilbri)

Forceps . . . . . . . . . . . . . . . . . . . . . . . . 8

BARRAQUER Needle Holders . . . . 10

BARRAQUER Speculum . . . . . . . . . 15

BARRAQUER-KATZIN

(Colibri) Forceps . . . . . . . . . . . . . . . . 9

BARRAQUER-TROUTMAN

Needle Holder . . . . . . . . . . . . . . . . . 10

BISHOP-HARMON Iris Forceps . . . . 7

BOWMAN Lacrimal Probe . . . . . . . 17

BOYNTON Needle Holder (TC) . . . 10

C

CASTROVIEJO Caliper . . . . . . . . . . 18

CASTROVIEJO Cyclodialysis

Spatula . . . . . . . . . . . . . . . . . . . . . . . 13

CASTROVIEJO Needle Holders . . . 11

CASTROVIEJO Scissors . . . . . . . . . . . 5

CASTROVIEJO Speculum . . . . . . . . 16

CASTROVIEJO Suture Forceps . . . . . 9

Cautery Pen . . . . . . . . . . . . . . . . . . . 21

ClearView 2®. . . . . . . . . . . . . . . . . . 39 cPLR Tester  . . . . . . . . . . . . . . . . . . . 44

Cryosurgical „Cryo-Stick“ . . . . . . . . 21

D

DESMARRES Chalazion

Forceps . . . . . . . . . . . . . . . . . . . . . . . 12

DESMARRES Retractors . . . . . . . . . 17

DOUGL AS Cilia Forceps  . . . . . . . . 11

E

EICKEMEYER® Aspheric

Lenses . . . . . . . . . . . . . . . . . . . . . . 31

EICKEMEYER® Diascleral

Transilluminator . . . . . . . . . . . . . . . 35

EICKEMEYER® ERG System  . . . . . 43 epiCam® V Fundus Camera. . . . . . 45

F

Fine Surgical Blades. . . . . . . . . . . . . 3

G

GASS Retinal Detachment

Hook . . . . . . . . . . . . . . . . . . . . . . . . . 16

GILL-ARRUGA Capsule Forceps. . . . 7

Gonioscopy Lenses . . . . . . . . . . . . . 31

GRADLE Cilia Forceps . . . . . . . . . . 11

GRAEFE Eyelid Retractor . . . . . . . . 16

GRAEFE Fixation Forceps  . . . . . . . 12

GRAEFE Iris Forceps . . . . . . . . . . . . . 8

GRAEFE Iris Hook . . . . . . . . . . . . . . 14

GRAENITZ Eyelid Spatula  . . . . . . . 15

H

HEINE® BETA® 200 / 200 LED /

200 S LED Ophthalmoscope . . . . . 32

HEINE® BETA® 4

Handle Range . . . . . . . . . . . . . . . . . 36

HEINE® BETA® Rechargeable

Handles  . . . . . . . . . . . . . . . . . . . . . . 37

HEINE® Binocular Loupes . . . . . 24 ff. HEINE® EL3 LED

Examination  Light . . . . . . . . . . . . . 22

HEINE® EN 200

Wall Transformer. . . . . . . . . . . . . . . 35

HEINE® Finoff

Transilluminator . . . . . . . . . . . . . . . 34

HEINE® HSL 150

Hand-held  Slit Lamp . . . . . . . . . . . 33

HEINE® LoupeLight 2 . . . . . . . . . . 27

HEINE® ML4 LED HeadLight . . . . 28

HEINE® NT 4 Table Charger . . . . . 37

Table Charger . . . . . . . . . . . . . . . . . 37

HEINE® OMEGA® 500 LED UNPLUGGED Indirect Ophthalmoscope . . . . . . . . . . . . . . 38

HEINE® OMEGA® 500 with

DV 1 Digital Video Camera . . . . . . 39

HEINE® Ophthalmic

Examination  Lamp . . . . . . . . . . . . . 34

HESS Capsule Forceps . . . . . . . . . . . 7

HESS (Colibri) Iris Forceps. . . . . . . . 8

HR / HRP Optics for HEINE®

ML 4 LED HeadLight  . . . . . . . . . . . 29

I

Icare® TONOVET Plus

Tonometer  . . . . . . . . . . . . . . . . . . . . 40

Icare® TONOVET Tonometer . . . . . 40

Intraocular  Silicone

Prosthesis.  . . . . . . . . . . . . . . . . . . . . 20

Iris Scissors . . . . . . . . . . . . . . . . . . . . 4

J

JAMESON Caliper . . . . . . . . . . . . . . 19

JAMESON Strabismus /

Muscle Hook . . . . . . . . . . . . . . . . . . 14

K

KELLNAR Lacrimal Dilators

and Tubes. . . . . . . . . . . . . . . . . . . . . 18

KNAPP Conjunctiva Forceps . . . . . 12

KNOLLE-PEARCE Irrigating

Vectis  . . . . . . . . . . . . . . . . . . . . . . . . 17

KOWA SL-17 Slit Lamp . . . . . . . . . . 42

KUHNT Corneal Scraper  . . . . . . . . 14

L

Lacrimal Duct Cannulae  . . . . . . . . 19

LANDOLT Enucleation

Scissors  . . . . . . . . . . . . . . . . . . . . . . . 5

Loupes & Light System . . . . . . . . . 29

M

MEYHOEFER Chalazion

Curettes  . . . . . . . . . . . . . . . . . . . . . . 15

O

Operating  Microscope . . . . . . . . . . 22

Optional Accessories for

HEINE® Binocular Loupes . . . . . . . 26

Optional Accessories for

HEINE® LoupeLight 2 . . . . . . . . . . 27

Optional Accessories for

HEINE® ML 4 LED HeadLight . . . . 29

Optional Accessories for HEINE® OMEGA® 500 LED UNPLUGGED Indirect Ophthalmoscope . . . . . . . . . . . . . . 38

R

RETevet™ . . . . . . . . . . . . . . . . . . . . . 43

S

SCHIRMER Tear Test . . . . . . . . . . . . 31

Spare Bulb High

Performance  LED 3.5 V  . . . . . . . . . 34

ST. MARTINS Corneal Forceps . . . 13

STADES Nicitating Forceps . . . . . . 13

Starter Ophthalmic Kit. . . . . . . . . . . 2

STEVENS Tenotomy Scissors . . . . . . 4

Strabismus Scissors . . . . . . . . . . . . . 5

Sugi Swabs  . . . . . . . . . . . . . . . . . . . 20

SuperCut Scissors (MC) . . . . . . . . . . 4

T

Tono-Pen AVIA® VET™

Tonometer  . . . . . . . . . . . . . . . . . . . . 41

Tono-Pen VET™ Tonometer.  . . . . . 41

TUEBINGEN Suture Forceps . . . . . . 9

V

Vacuum Pillow  . . . . . . . . . . . . . . . . 44

VANNAS Cataract Scissors. . . . . . . . 6

Vario LED Flex Magnifying

Light . . . . . . . . . . . . . . . . . . . . . . . . . 22

VOLK Aspheric Lenses . . . . . . . . . . 30

W

WEBER Wire Loop . . . . . . . . . . . . . . 17

WELCH ALLYN® PanOptic

Ophthalmoscope . . . . . . . . . . . . . . 33

WESTCOTT Scissors . . . . . . . . . . . . . 6

WILDER Lacrimal Dilators . . . . . . . 18

T +49 7461 96 580 0 | F +49 7461 96 580 90 | export@eickemeyer.com | www.eickemeyer.com                 47

EICKEMEYER KG Eltastraße 8

78532 Tuttlingen

Germany

T  +49 7461 96 580 0

F  +49 7461 96 580 90 export@eickemeyer.com www.eickemeyer.com

# Text boxes

Starter Ophthalmic Kit This instrument kit provides fundamental equipment for veterinary ophthalmic procedures including eyelid, third eyelid and eyelash surgery, conjunctival and corneal cytology / biopsy and enucleation. The kit has been reviewed and approved by DipECVO MRCVS RCVS and EBVS® European Specialist in Veterinary Ophthalmology.

Item. No. Length mm

171200 Complete Set, consisting of

101780 Guarded Scalpes • No 15 • Pack of 10

170008 CASTROVIEJO Eye Speculum 80

118111 STRABISMUS Scissors 115 • Curved

132812 ADSON Tissue Forceps 120 • Delicate • 1 x 2 teeth

171807 ST. MARTINS Forceps 90

171522 DESMARRES Chalazion Forceps 90 • Size 2

172514 CASTROVIEJO Needle Holder 140 • Curved

152612 OLSEN-HEGAR Needle Holder (TC) 120

171712 LANDOLT Enucleation Scissors 130 • Curved

170331 KUHNT Corneal Scraper

170004 BARRAQUER Eye Speculum 40

141109 2x HARTMANN Artery Forceps 100 • Curved

141009 2x HARTMANN Artery Forceps 100 • Straight

110811 STEVENS Tenotomy Scissors 110 • Straight • Blunt / blunt • Fine

172120 WESTCOTT Scissors 110 • Curved • Rounded tips • Wide handle

500604 Instrument Box Base

500704 Instrument Box Lid • Green • Dimensions (in cm): L 30 x W 14 x H 4

981703 Fingered Silicone Insert • Dimensions (in cm): W 12.5 x L 27.5

Ophthalmology

Ophthalmology

Advanced Ophthalmic Kit This instrument kit provides fundamental equipment for the veterinary surgeon to perform corneal, conjunctival and intraocular procedures. The kit has been reviewed and approved by DipECVO MRCVS RCVS and EBVS® European Specialist in Veterinary Ophthalmology.

Item. No. Length mm

171201 Complete Set, consisting of:

170512 CASTROVIEJO Cyclodialysis Spatula • Dual-ended

170464 WEBER Wire Loop 130

101710 BEAVER Scalpel Handle 100

172111 CASTROVIEJO Corneal Scissors 100 • Curved • Right

172110 CASTROVIEJO Corneal Scissors 100 • Curved • Left

173011 BARRAQUER Needle Holder 110 • Curved

171510 TUEBINGEN Suture Forceps 100

171105 BARRAQUER Colibri Forceps 70 • 0.5 mm teeth

171503 CASTROVIEJO suture Forceps 100 • 0.3 mm teeth

110911 STEVENS Tenotomy Scissors 110 • Fine curved

171309 ARRUGA Capsule Forceps 100

170340 JAMESON Strabismus / Muscle Hook 135

500604 Instrument Box Base

500702 Instrument Box Lid • Red • Dimensions (in cm): L 30 x W 14 x H 4

981703 Fingered Silicone Insert • Dimensions (in cm): W 12.5 x L 27.5

Fine Surgical Blades • These blades are a must for ocular, neuro and other micro-surgical procedures • Superior blades that can be ”locked“ into the Beaver surgical handle • 25 per pack

Item. No. Length mm

101763 Fine Surgical Blade • Size 63 • Sharp on two sides • Pointed tip

101764 Fine Surgical Blade • Size 64 • Sharp on one side • Rounded tip

101765 Fine Surgical Blade • Size 65 • Blade size 11 alternative

101769 Fine Surgical Blade • Size 69 • Sharp on two sides • Rounded tip

101710 Beaver Scalpel Handle 100 • Finger lock grip

101715 Beaver Scalpel Handle 155 • Handle lock grip

SuperCut Scissors (MC) • Designed with micro-ﬁne serrations on one blade to prevent soft tissue slipping while the opposing razor sharp blade cuts with minimal tissue trauma • German stainless steel construction and blade design allows for a much longer working life before sharpening is required • Ergonomically designed ring handles improve instrument control, provide a better feel when dissecting tissue and help reduce hand fatigue

Item. No. Length Form mm

118309 SuperCut Iris Scissors (MC) 90 straight

118310 SuperCut Iris Scissors (MC) 90 curved

118311 SuperCut Iris Scissors (MC) 115 straight

118312 SuperCut Iris Scissors (MC) 115 curved

Iris Scissors

• Ideal for general and ophthalmic surgery • Delicate cutting for precision work

Item. No. Length Form mm

110609 Iris Scissors 90 straight

110709 Iris Scissors 90 curved

110611 Iris Scissors 110 straight

110711 Iris Scissors 110 curved

110011 Iris Scissors (TC) 115 straight • EICKEMEYER® Lifetime Warranty

110111 Iris Scissors (TC) 115 curved • EICKEMEYER® Lifetime Warranty

Ophthalmology

Ophthalmology

Strabismus Scissors • Designed with a long shank to blade ratio, which helps provide a steady grip while maintaining greater precision cutting • Very useful for dissecting tissue in and around the orbit

Item. No. Length Form mm

118011 Strabismus Scissors 115 straight

118111 Strabismus Scissors 115 curved

116011 Strabismus Scissors (TC) 115 straight

116111 Strabismus Scissors (TC) 115 curved

CASTROVIEJO Scissors • Designed with ﬁne tips and a double leaf spring mechanism for self-opening action • The ridged handle and guide pin enhances instrument control

Item. No. Length Form mm

171710 CASTROVIEJO Iridectomy 100 curved Scissors • Sharp / sharp

172111 CASTROVIEJO Corneal 100 curved, Scissors right

172110 CASTROVIEJO Corneal 100 curved, Scissors left

Ophthalmology

Ophthalmology

Ophthalmology

GRAEFE Iris Forceps Designed with a ridged handle and guide pins for excellent instrument grip / control.

Item. No. Length Form mm

170610 GRAEFE Iris Forceps 100 straight

170710 GRAEFE Iris Forceps 100 curved

170810 GRAEFE Iris Forceps 100 straight • 1 x 2 teeth

170910 GRAEFE Iris Forceps 100 curved • 1 x 2 teeth

| Item. No. |  | Length mm |
| --- | --- | --- |
| 171503 | CASTROVIEJO Suture Forceps • Tip width: 0.3 mm | 100 |
| 171505 | CASTROVIEJO Suture Forceps • Tip width: 0.5 mm | 100 |

Ophthalmology

Ophthalmology

BARRAQUER Needle Holders • Ideal for ﬁne suturing in the anterior chamber • Round knurled ridged handles

Item. No. Length Form mm

173011 BARRAQUER Needle 110 curved Holder

173012 BARRAQUER Needle 130 curved Holder

Ophthalmology

CASTROVIEJO Needle Holders • The ridged handles help enhance instrument grip and control • Double leaf spring mechanism • Locking mechanism

Item. No. Length Form mm

172414 CASTROVIEJO Needle 140 straight Holder

172514 CASTROVIEJO Needle 140 curved Holder

Ophthalmology

GRAEFE Fixation Forceps Jaws are designed with interdigitating teeth to provide a ﬁrm grip on eyelashes.

Item. No. Length mm

171411 GRAEFE Fixation Forceps 110 • With pin

171412 GRAEFE Fixation Forceps 110

Ophthalmology

Ophthalmology

| Item. No. |  | Length |
| --- | --- | --- |
|  |  | mm |
| 170340 | JAMESON Strabismus / Muscle Hook | 135 |

Ophthalmology

Ophthalmology

Ophthalmology

KELLNAR Lacrimal Dilators and Tubes • Helps to determine the functional status of the lacrimal drainage system • Silicone tubing can be used to irrigate and aspirate with the dilator

Item. No. Length mm

170486 KELLNAR Lacrimal Dilator 85 • Left

170487 KELLNAR Lacrimal Dilator 85 • Right

170490 KELLNAR Lacrimal Dilator 140 • Dual-ended

170503 KELLNAR Probe Silicone Tube 1,000 • Outer Ø 0.6 mm

170505 KELLNAR Probe Silicone Tube 1,000 • Outer Ø 0.9 mm

170507 KELLNAR Probe Silicone Tube 1,000 • Outer Ø 1.6 mm

WILDER Lacrimal Dilators Designed with a tapered blunt tip and a round knurled handle.

Item. No. Length mm

170481 WILDER Lacrimal Dilator 110 • Size 1

170482 WILDER Lacrimal Dilator 110 • Size 2

170483 WILDER Lacrimal Dilator 110 • Size 3

ANEL Lacrimal Cannulae Designed to irrigate and aspirate purulent debris from the nasolacrimal duct.

Item. No. Length Form mm

440605 ANEL Lacrimal Cannula 15 Straight • 23 G

440705 ANEL Lacrimal Cannula 15 Curved • 23 G • 90°

Ophthalmology

Lacrimal Duct Cannulae • Suitable for ﬂushing purulent debris through the nasolacrimal duct • Includes Luer hub

Item. No. Length Form mm

441007 Lacrimal Duct Cannula 25 Curved • 23 G

440805 Lacrimal Duct Cannula 30 Straight • Olive tip • 23 G

440905 Lacrimal Duct Cannula 33 Curved • Olive tip • 23 G

BONN Irrigating Cannulae Designed with a blunt angled tip which is suitable for ﬂushing or aspirating the nasolacrimal duct.

Item. No. Length Form mm

441100 BONN Irrigating Cannula 12 Curved • 21 G

441101 BONN Irrigating Cannula 14 Curved • Slim • 18 G

Ophthalmology

Intraocular Silicone Prosthesis • Constructed from black silicone with low immunoreactive characteristics • Helps improve cosmetic results post enucleation • Range of sizes available

Item. No. Length mm

173500 Eye Implant Introducer

173514 Silicone Prosthesis 15

173515 Silicone Prosthesis 15

173516 Silicone Prosthesis 16

173517 Silicone Prosthesis 17

173518 Silicone Prosthesis 18

173519 Silicone Prosthesis 19

173520 Silicone Prosthesis 20

173521 Silicone Prosthesis 21

173522 Silicone Prosthesis 22

173523 Silicone Prosthesis 23

173524 Silicone Prosthesis 24

173526 Silicone Prosthesis 26

173528 Silicone Prosthesis 28

1735290030 Silicone Prosthesis 30

1735290033 Silicone Prosthesis 33

1735290036 Silicone Prosthesis 36

1735290038 Silicone Prosthesis 38

1735290040 Silicone Prosthesis 40

1735290043 Silicone Prosthesis 43

1735290045 Silicone Prosthesis 45

1735290047 Silicone Prosthesis 47

1735290050 Silicone Prosthesis 50

1735290052 Silicone Prosthesis 52

1735290055 Silicone Prosthesis 55

1735290060 Silicone Prosthesis 60

Ophthalmology

AlgerBrush II Corneal Burr The AlgerBrush II is a battery powered, handheld, low torque motorised burr. It has been designed to remove foreign bodies from the cornea or sclera of patients. The burr in this rotary instrument is used as a „brush“ rather than a drill and the foreign bodies are thus „brushed“ from the eye leaving a smooth surface, which in turn heals much faster than with other instruments that could be used for this purpose. AlgerBrush II Unit includes 3.5 mm Round Medium Grit Diamond Burr. *According to the paper „Veterinary Ophthalmology“ ([2013] 16, 2, 83 – 88), the AlgerBrush II has been successfully used to treat spontaneous corneal epithelial defects (SCCEDs) in dogs, in combination with a bandage contact lens.

Item. No.

170010 AlgerBrush II Unit

170011 AlgerBrush II Corneal Burr • 3.5 mm • Chuck attachment included

170013 AlgerBrush II Corneal Burr • 2.5 mm

170012 AlgerBrush II Corneal Burrs • 1 mm • 5 per pack

170014 AlgerBrush II Diamond Grinding Wheel • 4 mm • Fine • With chuck

Cryosurgical „Cryo-Stick“ • Pen-like device works with nitric oxide (N₂O) on the basis of expansion refrigeration and reaches a temperature of -89 °C. • Bloodless treatment • Almost painless • Minimal scarring • Ideal for ophthalmic or dermatological treatments • Special cartridge valve prevents gas leakage • Tip covers an area of 1 – 6 mm • Multiple use of the cartridge is possible

Item. No.

173442 Cryosurgical „Cryo-Stick“ • Lowest temperature: -89 °C • Includes two N₂O cartridges

173444 N₂O Cartridge • N₂O cartridge for Cryo-Stick (173442) • Special cartridge valve prevents gas loss

Operating Microscope • Ergonomically positioned controls allow a comfortable posture when operating for long periods • 5 magniﬁcation steps: 3.6x / 5.4x / 8.9x / 14.2x / 22.3x • Visual ﬁeld 56 to 9 mm • Micro-focusing 40 mm, motorised pedal controlled • Light source delivers bright light, 150 W • Mobile ﬂoor stand with 4 lockable castors, providing excellent mobility • Tilt-resistant, heavy ﬂoor stand with locking castors • Optional: tube for connection of CCD cameras

Item. No.

328140 Operating Microscope

328141 Teaching Mirror Attachment • Easy to install and operate • Beamsplitter, CCD-adaptor and observers’ monocular

Ophthalmology

HEINE® EL3 LED Examination Light

The HEINE® EL3 emits bright LED illumination eliminating all shadows in the light ﬁeld. An ideal colour temperature and a high colour rendering index provide practitioners with true tissue colour in patient examination. The lightweight head and stable goose neck allow easy and intuitive adjustment to keep the light in position. The Cool-Touch closed head design makes disinfection safe and easy. Technical speciﬁcations • > 42,000 lux / > 350 lumen • Working Distance: 30 cm • Colour temperature: 5,000 K • Colour Rendering Index (CRI): > 90 • Special index for red colours (R9): > 90 • Shadow-free illumination • Compact illumination head (Ø approx. 60 mm) • Maintenance-free and easy to clean • Mounting Options: Wall, Table or Stand

Item. No.

611121 HEINE® EL3 LED Examination Light • Wall Model

611122 HEINE® EL3 LED Examination Light • Table model

611123 HEINE® EL3 LED Examination Light • Stand Model

Vario LED Flex Magnifying Light

The Vario LED Flex magnifying light will assist you in all areas of your practice where additional light and magniﬁcation are required. The ﬂexible gooseneck arm and ergonomic magniﬁer handle help examine oral or ocular structures. Technical speciﬁcations • Large ﬁeld of view with Ø 76 mm lens • Distortion-free aspheric lens with 2.5x magniﬁcation • Shadow free ring illumination or precise segment illumination • High level of illumination provided by 63 long-life LEDs • Low energy consumption (5 W ) and long service life (~ 50,000 hours) • Securable to table tops ≤ 60 mm

Item. No.

614500 Vario LED Flex Magnifying Light

Ophthalmology

© Eric Isselée – shutterstock.com

Ophthalmology

Ophthalmology

HEINE® Binocular Loupes on S-FRAME • Protective lenses • 2 sterilisable swivel levers • Retaining cord • Cleaning ﬂuid • Cleaning cloth • Carrying case

Item. No. WD cm

310700 HEINE® Binocular Loupes on S-FRAME 34 • HR 2.5x

310707 HEINE® Binocular Loupes on S-FRAME 42 • HR 2.5x

310706 HEINE® Binocular Loupes on S-FRAME 42 • HRP 3.5x

310708 HEINE® Binocular Loupes on S-FRAME 34 • HRP 4x

Optional Accessories for HEINE® Binocular Loupes

Item. No. WD cm

310717 HEINE® LoupeLight 2 • With mPack mini and E4-USB plug-in transformer

311131 S-GUARD • For Professional L Headband

31051201 Clip-in Correction Frame • For prescription lenses for S-FRAME and S-GUARD

31050802 Round Sterilisable Swivel Levers • Set of 5

31050801 S-FRAME • For HR and HRP loupes

31051001 Professional L Headband • For HR and HRP loupes

31050301 HEINE® Binocular Loupes 34 • HR 2.5x • Optics with i-View mount for S-FRAME

31050401 HEINE® Binocular Loupes 42 • HR 2.5x • Optics with i-View mount for S-FRAME

31050501 HEINE® Binocular Loupes 42 • HRP 3.5x • Optics with i-View mount for S-FRAME

31050601 HEINE® Binocular Loupes 34 • HRP 4x • Optics with i-View mount for S-FRAME

310513 HEINE® Binocular Loupes 34 • HR 2.5x • Optics with i-View mount for Professional L Headband

310514 HEINE® Binocular Loupes 42 • HR 2.5x • Optics with i-View mount for Professional L Headband

310515 HEINE® Binocular Loupes 42 • HRP 3.5x • Optics with i-View mount for Professional L Headband

310516 HEINE® Binocular Loupes 34 • HRP 4x • Optics with i-View mount for Professional L Headband

310517 HEINE® Binocular Loupes 34 • HRP 6x • Optics with i-View for Professional L Headband

Ophthalmology

Ophthalmology

Optional Accessories for HEINE® LoupeLight 2

Item. No.

31071701 HEINE® LoupeLight 2 for HR / HRP Loupes with i-View Loupe Mount

E31071701 Connecting Cord SC 1 for LoupeLight 2 / mPack mini • 1.5 m / Ø 2.4 mm

E31071702 Connecting Cord SC 2 for LoupeLight 2 / mPack mini • 1.5 m / Ø 3.2 mm

173479 mPack mini with Li-ion Rechargeable Battery

E17347901 mPack mini Belt Clip

302444 USB Cord with E4-USB Plug-in Transformer

302442 E4-USB Plug-in Power Supply for USB Cord

Ophthalmology

HEINE® ML4 LED HeadLight The HEINE® ML4 LED HeadLight is specially designed for professionals who need a perfect view during long surgical operations or treatments. The headband of the HEINE® ML4 LED HeadLight offers multiple adjustments points and soft padding ensuring highest comfort and a ﬁrm ﬁt. Features • Adjustable illumination spot size • Bright and homogenous illumination • Stepless light intensity control • Flexible Power Source Options: 100 % mobility with a choice of cable-free mPack UNPLUGGED head-worn battery or mPack belt-worn battery pack • Coaxial design ensures a completely shadow-free image and allows for excellent illumination of difﬁcult to see areas • Comfortable and secure ﬁt. The Professional L headband has multiple adjustment points and soft padding for comfort and stability – even during long examinations Technical speciﬁcations • Illumination: 65,000 lux • Colour Temperature: 4,500 Kelvin • LED Operating Life: 50,000 hours • Spot Adjustment: 30 mm to 80 mm at 420 mm WD • Angle of Declination Stepless and individually adjustable for every examination • Headband-mounted Rheostat • Operating Time: 8.5 hours with mPack and 3.5 hours with mPack UNPLUGGED of continuous ON time at full power Power Options HEINE® mPack HEINE® mPack UNPLUGGED • Portable power pack • Wireless • Li-ion technology – no memory • Rechargeable battery effect, autonomy for 8.5 hours integrated on the headband of continuous ON time at full • Lightweight with balanced power weight distribution • Fast charge – charges to full • Charge status indicator capacity in 2 hours indicates remaining operating • Charge status indicator time • Brightness control • Intelligent – can be used as • Flexible charging options: EN mains power supply even in 50 Desk and wall charger, or „charge” mode plug-in transformer • Fast charge – charges to full • Intelligent – can be used as capacity in 2 hours (operating mains power supply even while time 3.5 hours of continuous in “charge” mode ON time at full power)

Item. No.

311137 HEINE® ML 4 LED HeadLight • With mPack and plug-in transformer

311138 HEINE® ML 4 LED HeadLight • With mPack UNPLUGGED and plug-in transformer UNPLUGGED

HR / HRP Optics for HEINE® ML 4 LED HeadLight The HEINE® ML 4 LED HeadLight is optionally supplied with HR / HRP Binocular Loupes including i-View loupe mount. The binocular loupe is fully adjustable for every examiner and for every examination axis. HEINE® i-View for HEINE® ML 4 LED HeadLight provides any angle of view and ﬂips up the optics independently of the illumination beam.

Item. No. WD cm

311126 Mounting Kit for Retroﬁtting Loupes

311127 HEINE® Binocular Loupes 34 • HR 2.5x

311121 HEINE® Binocular Loupes 42 • HR 2.5x

311123 HEINE® Binocular Loupes 42 • HRP 3.5x

311122 HEINE® Binocular Loupes 34 • HRP 4x

311124 HEINE® Binocular Loupes 34 • HRP 6x

Ophthalmology

Optional Accessories for HEINE® ML4 LED HeadLight

Item. No.

31051101 S-GUARD with Screw for HEINE® ML 4 LED HeadLight

311139 Flat Sterilisable Swivel Levers • Set of 5

302558 Wall Transformer EN 50 UNPLUGGED • Without mPack UNPLUGGED • 6 V

31112901 mPack UNPLUGGED Battery

31112902 Transformer UNPLUGGED for mPack UNPLUGGED Battery

173477 mPack with Li-ion Rechargeable Battery

302442 E4-USB Plug-in Power Supply for USB Cord

31112903 Plug-in Transformer for mPack

Loupes & Light System These inexpensive loupes provide a ﬂexible working distance and are suitable for a wide range of detailed work. The coaxial (LED) llumination esures a shadow-free visualisation of the whole ﬁeld of view. The battery case can be comfortably worn on the belt or placed in a shirt pocket. Speciﬁcations • 2x magniﬁcation • Illumination: 1,200 Lux at 40 cm (working distance) • Light beam can be adjusted in the vertical plane • Battery Life: 8 Hours (Normal Mode) / 14 hours (Eco Mode) • Dioptre adjustment ± 3 dpt, right / left can be individually adjusted • Cable length: 1 m • Loupe weight: 40 g • Light System weight: 11 g • Battery case weight: 60 g • Dimensions without clip (in mm): L 90 x W 55 x D 29 • Dimensions with clip (in mm): L 90 x W 55 x D 40 • Includes: Hard foam case, lanyard for the glasses and 3 x AAA batteries

Item. No.

310600 Loupes

310601 Loupe Light System

VOLK Aspheric Lenses Aspheric surfaces correct abbreviations present in more common spherical lenses, which help improve the ﬁeld of view for diagnosis. Volk’s double-aspheric lenses eliminate more distortion for better overall imaging. • Lenses with a higher Dioptre power provides a wider ﬁeld of view, lower magniﬁcation, and the best performance through small pupils. • Lenses with a lower Dioptre power have a narrower ﬁeld of view, higher magniﬁcation, and do not perform well through a small pupil. Lens Orientation Double aspheric lenses are not always symmetric on both sides. A lens with asymmetric aspheres will produce different optical results depending on which side of the lens you look through. The Volk “V” is like an arrow and is designed to point towards the patient. Some lenses have a silver rim on one side of the ring – it should always be on the side of the lens closest to the patient.

Item. No. FOV Mag. WD cm

17353814 VOLK Aspheric Lens 36° / 47° 4.30x 75 • 14 D

17353815 VOLK Aspheric Lens 36° / 47° 4.11x 72 • 15 D

173538 VOLK Aspheric Lens 46° / 60° 3.13x 50 • 20 D

17353825 VOLK Aspheric Lens 52° / 68° 2.54x 38 • 25 D

17353801 VOLK Aspheric Lens 53° / 69° 2.27x 33 • 28 D

173539 VOLK Aspheric Lens 58° / 75° 2.15x 30 • 30 D

17353830 VOLK Aspheric Lens 46° / 60° 2.10x 30 • 30 D Small

17353840 VOLK Aspheric Lens 69° / 90° 1.67x 20 • 40 D

17353860 VOLK Aspheric Lens 68° / 81° 1.15x 13 • 60 D

17353878 VOLK Aspheric Lens 81° / 97° 0.93x 8 • 78 D

17353890 VOLK Aspheric Lens 74° / 89° 0.76x 7 • 90 D

173536 VOLK Aspheric Lens 56° / 73° 2.68x 40 • PanRetinal 2.2

173537 VOLK Aspheric Lens 36° / 43° 5.50x 80 • Macula Plus 5.5

Ophthalmology

© Eric Isselée – stock.adobe.com

EICKEMEYER® Aspheric Lenses The 20 D and 30 D lenses have been known as the industry standard for decades. They are the most commonly used for general diagnosis / treatment.

Item. No.

173474 EICKEMEYER® Aspheric Lens • 20 D

173475 EICKEMEYER® Aspheric Lens • 30 D

Ophthalmology

Gonioscopy Lenses

BARKAN and KOEPPE lenses enable examination of the iridocorneal angle and diagnosis of primary glaucoma by creating a corneal vault while leaving the anterior chamber undisturbed. A light slit lamp, head loupe or microscope is required to achieve desirable resolution and illumination.

Item. No.

173573 KOEPPE Diagnostic Gonio Lens • Image Magniﬁcation: 1.70x • Contact Diameter: 14 mm • Static Gonio FOV: 160

173574 KOEPPE Diagnostic Gonio Lens • Image Magniﬁcation: 1.57x • Contact Diameter: 17 mm • Static Gonio FOV: 160 ° • Particularly suitable for smaller animals

173575 KOEPPE Diagnostic Gonio Lens • Image Magniﬁcation: 1.53x • Contact Diameter: 18 mm • Static Gonio FOV: 160 ° • Particularly suitable for medium sized animals

173576 KOEPPE Diagnostic Gonio Lens • Image magniﬁcation: 1.50x • Contact Diameter: 19 mm • Static Gonio FOV: 160 °

173580 BARKAN Gonio Lens • Magniﬁcation 2x • Hydrostatic pressure attaches lens to cornea • Ttubing inner diameter 0.5 mm, outer diameter 1.4 • Height 2.5 mm

Ophthalmology

HEINE® BETA® 200 S LED Ophthalmoscope

Exclusive dustproof design protects the precision optical components and ensures maintenance-free operation. The HEINE® BETA® 200 / 200 S Ophthalmoscopes are the only instruments with an aluminium frame system. Optical components are ﬂush-mounted on a cast aluminium frame, eliminating misalignment and making the instrument shock- resistant. The HEINE® BETA® 200 S LED has virtually unlimited hours of working life. No need to ever replace bulbs. Maintenance-free for a lifetime. Features • Superior aspherical optics with LED HQ • Special optical interface to precisely integrate the LED illumination with the optical system to ensure bright, homogeneous light during examinations • Range of lenses: 28 single lenses and features a 74 single step design from -36D to +38D • Patented, unique, stepless dimming from 3 % to 100 % with practical one-ﬁnger operation • No stray light due to the recessed, multi-coated viewing window – eliminates distractions • Precise one-hand control of the instrument • Suitable for large as well as small or undilated pupils • Ergonomic design ﬁts the orbita comfortably and blocks out ambient light • Full functionality of the HEINE® BETA® 200 S LED is guaranteed with HEINE® BETA® Rechargeable Handles and the HEINE® EN 100 / HEINE® EN 200 Wall Transformers • 7 apertures

Item. No.

300138 HEINE® BETA® 200 S LED Ophthalmoscope

HEINE® BETA® 200 Ophthalmoscope The ophthalmoscope with unique aspherical optics and all features of the HEINE® BETA® 200 LED, but: • XHL Xenon Halogen bulb (3.5 V ) with bright illumination and authentic colour rendering

Item. No.

301135 HEINE® BETA® 200 Ophthalmoscope • With XHL illumination

301137 XHL Xenon Halogen 3.5 V Spare Bulb

WELCH ALLYN® PanOptic Ophthalmoscope Patented Axial PointSource™ Optics make it easy to enter undilated pupils, offering a 25º ﬁeld of view, resulting in a view of the fundus thatʼs 5x greater than you see with a standard ophthalmoscope in an undilated eye. Features • Digitally capture, store and share fundus images by combining with iExaminer • Greater working distance improves comfort for both practitioner and patient • Dynamic focusing wheel allows continuous, smooth action and more precise control • Halogen HPX® lamp provides bright, white light • Compatible with all existing WELCH ALLYN® 3.5 V power sources

Item. No.

301145 WELCH ALLYN® PanOptic Ophthalmoscope

301146 WELCH ALLYN® PanOptic Ophthalmoscope iExaminer Adaptor for iPhone 4 / 4s

301147 WELCH ALLYN® PanOptic Ophthalmoscope iExaminer Adaptor for iPhone 6 / 6s

301148 WELCH ALLYN® PanOptic Ophthalmoscope iExaminer Adaptor for iPhone 6 Plus / 6s Plus

302046 Adaptor WELCH ALLYN® to HEINE® Battery Handle

173549 Adaptor HEINE® to WELCH ALLYN® Battery Handle

Ophthalmology

HEINE® HSL 150 Hand-held Slit Lamp Compact and lightweight, the portable HSL 150 is ideal for situations where a full-size slit lamp is not available or convenient for the examination of the anterior segment. Features • Slit size adjustable from 0.2 mm x 10 mm to 4 mm x 14 mm • 6 x magniﬁcation • Blue interference ﬁlter (FITC), can be selected for corneal examination • Multi-coated optics for maximum light transmission • 3.5 V • XHL Xenon Halogen Technology for bright, white light comparable with the brightness of a classic slit lamp • The instrument head weighs just 70 g, the lightest slit lamp of its kind • Compatible with all 3.5 V HEINE® handles

Item. No.

173543 HEINE® HSL 150 Hand-held Slit Lamp

17354302 HEINE® HSL Slit Lamp Loupe Attachment • 10 x magniﬁcation when combined with HEINE® HSL 150 Loupe • Increased working distance from examiner to patient • Large ﬁeld of view • With an additional detachable eyepiece to steady the instrument on the brow and avoid stray light

Ophthalmology

HEINE® Ophthalmic Examination Lamp • Small and light – ideal for house calls and rounds • 5 different apertures: helps detect erosion, edema and foreign bodies on the cornea • Apertures focused at 100 mm working distance

Item. No.

301180 HEINE® Ophthalmic Examination Lamp

301181 XHL Xenon Halogen Spare Bulb for 301180

Ophthalmology

Ophthalmology

HEINE® BETA® 4 Handle Range Features • One handle for all applications: a well thought out range combines everybody’s needs and all technologies • Choice of power sources from basic alkaline batteries up to latest Li-ion technology. • 4 handle options: – HEINE® BETA® drycell handle – HEINE® BETA® 4 USB rechargeable handle with USB cord and medical approved plug-in power supply – HEINE® BETA® 4 NT and HEINE® BETA® 4 SLIM NT rechargeable handle for NT 4 Table Charger • Compatibility during your entire career: the HEINE® BETA® 4 Rechargeable Handles are compatible with all 3.5 V XHL and LED HEINE® instruments • Complete freedom of choice: one basic handle for any situation. Decide between dry-cell or rechargeable; enhanced mobility with USB charging or convenient desk charging in the HEINE® NT 4 Table Charger Speciﬁcations • High-quality metal construction for strength and durability • Exclusive Automatic Connector with locking design • Deep Battery Discharge Protection: integrated safety system protects your investment by preventing batteries from completely draining; thus ensuring maximum battery life • Familiar brightness control: rheostat for continuous brightness control with power level indicator • Li-ion technology: no “memory effect”. Charge your handle how you like without worrying about charge level or battery condition • Extended ON time: work 6 weeks between recharging with LED instruments • Quick charge: 2 hours • Slightly knurled ﬁnish of the handle provides a non-slip grip but is easy to clean and disinfect • Charge Status Indicator in the bottom insert: the indicator shines orange if the battery needs to be recharged; in the HEINE® BETA® 4 USB Handle the indicator blinks green during the charging process and shines permanently green as soon as it is fully charged • Ready-to-use Function: handles switch ON & OFF automatically when placed into charger. Set your desired brightness level once and it stays there every time you use your instrument. Also prevents battery damage and premature bulb burn outs if the instruments are accidentally left on • Maximum safety: you can charge your HEINE® BETA® 4 USB handle with any USB plug or other USB power source, with absolute peace of mind (the HEINE® BETA® 4 USB handle has an integrated, exclusive Galvanic Separation Module that protects the handle, and the user, even if a faulty or inferior plug is used)

Item. No.

302553 HEINE® BETA® 4 NT Rechargeable Handle • For HEINE® NT 4 table charger with Li-ion rechargeable battery (302431) and HEINE® BETA® 4 NT bottom insert (302552)

302552 HEINE® BETA® 4 NT Bottom Insert

302431 Li-ion Rechargeable Battery for HEINE® BETA® 4 / HEINE® BETA® L Rechargeable Handle

302443 HEINE® BETA® 4 USB Rechargeable Handle • Complete with Li-ion rechargeable battery, HEINE® BETA® 4 USB bottom insert, USB cord with plug-in and handle rest

302440 HEINE® BETA® 4 USB Bottom Insert

30255201 Charging Cable for USB Plug-in Transformer

302442 HEINE® BETA® 4 USB Plug-in Transformer

302536 HEINE® BETA® 4 SLIM NT Rechargeable Handle • Complete with rechargeable Li-ion battery and HEINE® BETA® 4 SLIM NT bottom insert • Dimensions (in mm): 135 x 19 dia, weight: 180 g

302432 HEINE® BETA® 4 SLIM NT Rechargeable Li-ion Battery

HEINE® NT 4 Table Charger With the appropriate adaptor set all HEINE® BETA® 4 NT and HEINE® BETA® 4 SLIM NT rechargeable handles can be charged in the NT 4 table charger. The same applies to all Standard F.O. 4 NT, F.O. 4 SLIM NT and F.O. 4 SHORT NT laryngoscope rechargeable handles. Speciﬁcations • Innovative, compact design: practical and space-saving • Two independent charging wells: complete functionality for one or two handles at a time • Automatic charging: independent of the state of charge of the rechargeable battery • Guarantees extended battery life • Cannot be overcharged: charger switches off automatically when the battery is fully charged • Charge status indicator: light pulses from the charging well to conﬁrm the charging mode, continuous light indicates that the charging process has been completed • Dimensions (in mm): W 142 x H 61 x D 66

Item. No.

302551 HEINE® NT 4 Table Charger

30255101 Adaptor Set • For HEINE® BETA® SLIM and F.O. 4 SLIM NT laryngoscope rechargeable handles • Two pieces

Ophthalmology

HEINE® BETA® Rechargeable Handles

All the rechargeable handles listed here are only compatible with the systems of the previous generation and the HEINE® NT 300 table charger. Not suitable for HEINE® BETA® 4 rechargeable handles.

Item. No.

302555 HEINE® BETA® L Li-ion Rechargeable Handle • With Li-ion rechargeable battery and bottom insert

302438 HEINE® BETA® L Bottom Insert • With charge status indicator

302431 Li-ion Rechargeable Battery for HEINE® BETA® 4 / HEINE® BETA® L Rechargeable Handle

302535 HEINE® BETA® NT Rechargeable Handle • With rechargeable battery and bottom insert

302435 HEINE® BETA® NT Bottom Insert

302436 Rechargeable Battery for HEINE® BETA® NT Rechargeable Handle

302400 HEINE® BETA® Handle Module

HEINE® NT 300 Table Charger

Item. No.

302550 HEINE® NT 300 Table Charger • For HEINE® BETA® and Laryngoscope handles

30255101 Adaptor Set • For HEINE® BETA® SLIM and F.O. 4 SLIM NT laryngoscope rechargeable handles • Two pieces

Ophthalmology

Optional Accessories for HEINE® OMEGA® 500 LED UNPLUGGED Indirect Ophthalmoscope

Item. No.

173465 Teaching Mirror

302558 Wall Transformer EN50 UNPLUGGED

173490 HEINE® Hard Case for HEINE® OMEGA® 500

173495 HEINE® Combi Case for HEINE® OMEGA® 500

Ophthalmology

Icare® TONOVET Plus Tonometer Icare® TONOVET Plus is a new generation tonometer for a quick and easy veterinary IOP measuring. The TONOVET Plus is based on a rebound measuring principle, in which a light probe is used to make momentary, gentle contact with the cornea. The device is easy to use and the measurement is barely noticed by the animal and often does not even cause corneal reﬂex. The disposable probe touches the cornea very lightly for only a fraction of a second. As no topical anaesthetic or disinfection is needed, the whole procedure is over quickly and disturbance to the animal is minimal with no risk of contamination. Features • Automatic measuring settings for dog, cat, rabbit and horse • Option to take six readings by one press only • Red / Green positioning assistant lights • Larger display with clear messages • Measuring support • Easy to use, short learning curve • Short preparation time • Universal A A batteries Technical speciﬁcations • Power supply: 4 x A A non-rechargeable batteries, 1.5 V alkaline LR6 • Measurement range: 10 – 60 mmHg • Accuracy: ± 2.5 mmHg (10 – 30 mmHg) and ± 10% (> 30 – 60 mmHg) • Repeatability (coefﬁcient of variation): < 8 % • Accuracy of display: 1 mmHg • Display units: millimeter of mercury (mmHg) • This device has BF-type electric shock protection • Dimensions (in mm): L 215 x W 24 – 29 x H 35 – 95 • Weight: 230 g (including batteries) • Includes 100 probes, 4 A A batteries & instruction manual

Item. No.

1736007 Icare® TONOVET Plus Tonometer

1736006 Probes for TONOVET Plus and TONOVET

1736008 Stand for TONOVET Plus and TONOVET

E173600701 Probe Base for TONOVET Plus

E173600702 Probe Base Collar for TONOVET Plus

E173600703 Green Silicone Grip for TONOVET Plus

Ophthalmology

Icare® TONOVET Tonometer

Icare® TONOVET is the tool that accurately measures the IOP on animal patients. The Icare® TONOVET tonometer is intended for use by general veterinary practitioners, veterinary ophthalmologists and other veterinary medical personnel. Technical speciﬁcations • 2 settings: for small animal eye (dog / cat), and for large animal eye (horse) • Display range: 7 – 60 mmHg • Power supply: 4 x A A non-rechargeable batteries • Accuracy: ± 2.5 mmHg (10 – 30 mmHg) and ± 10% (> 30 – 60 mmHg) • Repeatability (coefﬁcient of variation): < 8 % • Accuracy of display: 1 mmHg • Display units: millimeter of mercury (mmHg) • This device has BF-type electric shock protection • Dimensions (in mm): L 230 mm x W 13 – 32 mm x H 45 – 80 mm • Weight: 250 g (including batteries) • Includes 100 probes, 4 A A batteries & instruction manual

Item. No.

1736005 Icare® TONOVET Tonometer

1736006 Probes for TONOVET Plus and TONOVET

1736008 Stand for TONOVET Plus and TONOVET

E173600501 Green Silicone Grip for TONOVET

Tono-Pen VET™ Tonometer With over 40 breeds of dogs and cats possessing the predisposition to glaucoma, the Reichert Tono-Pen VET™ Veterinary Tonometer provides simplicity for monitoring this condition. Tono-Pen VET™ functions in any orientation making it ideal for all of your measurements. Features • Easy to read digital display • Measuring range: 5 – 80 mmHg • Power source: 2 Ocu-Cel VET batteries • Dimensions (in cm): L 18.4 x W 2.5 x D 2.2 • Weight: 64 g

Item. No.

173560 Tono-Pen VET™ Tonometer • With 150 OCU-FILM® Tip Covers

173565 OCU-FILM® Tono-Pen Tip Covers • 150 per pack

173563 Tono-Pen VET™ Battery • 4 per pack

Ophthalmology

Tono-Pen AVIA® VET™ Tonometer

Designed with the veterinary care professional in-mind, the ergonomically designed Tono-Pen AVIA® VET™ does not require daily calibration, has a long life, easy to replace battery and can be used in any position. Features • Functions in any position • Measurement Range: 1 – 99 mmHg • Large easy-to-read LCD display • Right or left handed operation • Power source: Tono-Pen AVIA® VET™ Powercel Battery Pack • Dimensions (in cm): L 16 x W 2 x D 4.4 • Weight: 71 g

Item. No.

173600 Tono-Pen AVIA® VET™ Tonometer • With 150 OCU-FILM® Tip Covers

173565 OCU-FILM® Tono-Pen Tip Covers • 150 per pack

173605 Tono-Pen AVIA® VET™ Battery

Ophthalmology

KOWA SL-17 Slit Lamp Kowa’s latest portable slit lamp, the SL-17, provides optimum stereoscopic observation with selectable magniﬁcations and slit widths within a compact, lightweight, portable unit. With its non-slip ergonomic grip, the SL-17 provides maximum operator comfort during lengthy examinations. Features • Ergonomic and lightweight – only 790 g • Continuously variable LED illumination from 10K to 20K lux • Choice of 10x and 16x magniﬁcations • 4 slit widths: 0.1 mm, 0.2 mm, 0.8 mm and Ø 12 mm • Spot illumination: Ø 1 mm, Ø 5 mm, Ø 12 mm • 1 mm slit length for observing the anterior chamber ﬂare • Built-in cobalt blue ﬁlter • Standard A A A batteries for up to 280 minutes operation Technical speciﬁcations • Interior angle: 13° • Working distance: approx. 80 mm (at 16x magniﬁcation), approx. 100 mm (at 10x magniﬁcation) • Field of view: Ø 10 mm (at 16x magniﬁcation), Ø 15 mm (at 10x magniﬁcation) • Viewing distance: 50 to 72 mm • Eyepiece dioptric adjustment: -8 to +5D • Slit projection angle: horizontal: ± 60° • Power input: DC 4.8 – 6.4 V (4x A A A batteries) • Dimensions (in cm): W 22 x D 9.5 x H 22.5 • Weight: 790 g (incl. batteries)

Item. No.

173660 KOWA SL-17 Slit Lamp • White

17366001 KOWA SL-17 Slit Lamp • Pink

17366002 KOWA SL-17 Slit Lamp • Aqua blue

17366003 KOWA SL-17 Slit Lamp • Green

173653 KOWA SL-17 Slit Lamp iPhone X / XS Adaptor

173652 KOWA SL-17 Slit Lamp iPhone XR Adaptor

173651 KOWA SL-17 Slit Lamp iPhone 8 Plus / 7 Plus Adaptor

173649 KOWA SL-17 Slit Lamp iPhone 8 / 7 Adaptor

173655 KOWA SL-17 Slit Lamp iPhone 6 Plus Adaptor

173654 KOWA SL-17 Slit Lamp iPhone 6 Adaptor

173657 KOWA SL-17 Slit Lamp Samsung Galaxy S9 Plus Adaptor

173656 KOWA SL-17 Slit Lamp Samsung Galaxy S9 Adaptor

173661 KOWA SL-17 Slit Lamp Case

RETevet™ Visual Electrodiagnostic System

The RETevet™ device offers an intuitive interface that allows veterinary ophthalmologists and researchers to perform electroretinograms (ERGs) to measure the retinal function of animals. Features • Extremely small • Intuitive user interface • Real-time results • Completely portable and battery powered • No need for external ﬁlters for dim ﬂashes • All ﬂashes electronically controlled • Easy USB connection to any PC • Comprehensive reports in PDF formats • Anaesthesia is optional (based on the patient) • Multilingual interface in 17+ languages Technical speciﬁcations • RGB LED technology • 15 million colour combinations • Size: 10.5 cm x 15.5 cm • Weight: 240 g

Item. No.

173610 RETevet™ Visual Electrodiagnostic System

173586 ERG System Needle Electrode • 0.28 GA • 12 mm

173587 ERG System Disposable Contact Lens Electrode • Ø 12 mm • 3 per pack

Ophthalmology

EICKEMEYER® ERG System Electroretinography (ERG) is a electrophysiological technique which measures the retinal action potentials in response to light stimulation. In small animal practice, electroretinography is more useful than other diagnostic techniques for the assessment of retinal function. Technical speciﬁcations • Ideal for pre-operative screening of retinal function in cataract patients • Handy device for checking the operation of the retina in acquired and hereditary disorders • Complete ERG / VEP screening • Connects to a PC or laptop ( Windows) via USB interface • With white stimulus • Clear, easy-to-use software • Includes: 6 disposable contact lens electrodes and needle electrodes

Item. No.

173585 EICKEMEYER® ERG System

173586 ERG System Needle Electrode • 0.28 GA • 12 mm

173587 ERG System Disposable Contact Lens Electrode • Ø 12 mm • 3 per pack

Ophthalmology

Vacuum Pillow U-shaped vacuum pillow designed to help position and support an animalʼs head during surgery (e. g. conjunctival pedicle graft). Adjusting the cushion inﬂation pressure allows the pillow to adapt to a wide range of head sizes. • PVC construction • Extra soft edges

Item. No.

605911 Vacuum Pillow • U Shape

605990 Vacuum Pillow Hand Pump • Suitable for inﬂating all EICKEMEYER® vacuum cushions

AESCUL AP Clipper Isis / Exacta Reduced noise and vibration, whilst delivering superior cordless clipping. Ideal for cat forelimb, head, and neck regions. • Blade cutting width: 24 mm • Blade cutting length: 0.5 mm • Battery life up to 40 min. / 4 hours to recharge • Weight: 120 g • Includes one clipper blade

Item. No.

902600 AESCULAP Clipper Isis / Exacta

902601 AESCULAP Isis / Exacta Clipper Blade • Carbon blade (cannot be re-sharpened)

Ophthalmology

© mholka – stock.adobe.com

Ophthalmology

Ophthalmology

07 / 2019 | p. 1: © 135pixels – stock.adobe.com